Team Name: ______________________________________	    	 		Due on April 16th 10:15 PM.

Project Three

CCD Photometry and Eclipsing Binary Stars

Background

On the nights of December 21 and 22 of 2003, the variable star named FZ Orion was observed using the 18” telescope at the SFA Observatory.  About 6 hours of data were collected on this star each of these nights.  FZ Orion is a known short-period eclipsing binary star.   In this exercise you will measure the apparent magnitude of this star using commercial image processing software for each of the images acquired.  You will then create a light curve - a plot of the apparent magnitude versus time.

Procedure

- Each team will be assigned a work area at the observatory that has two computers that can be used for this project.  Note that this project must be completed at the observatory since the image processing software is not free software.

- Locate the CCD images over the network neighborhood.  They are stored compressed file on the computer called “Satellite”.  Unzip these images to the “C:\CCDImages\” directory of the two computers that your team will be using.

- Start the image processing software called MaxIM DL.  Use the “View” menu option to gather information about these images and record your observations below.  Examine the first and last image of FZ Orion as well as the dark frames and flat field images.

12-21-2003     		12-22-2003

Time for First Image (UT): 		__________ 			__________

Time for Last Image (UT): 		__________ 			__________

Exposure Time (seconds):		__________			__________

Chip Temperature (Celsius):	__________			__________

12-21-2003 Dark Frame    12-21-2003 Flat Field

Time (UT): 				__________ 			__________

Exposure Time (seconds):		__________			__________

Chip Temperature (Celsius):	__________			__________

How long was FZ Orion observed on December 21, 2003?  On December 22, 2003?

________________	_______________

FZ Orion

Reference Star

SBIG ST8 CDD Field of View for the 18” Telescope

- Calibrating a CCD image involves removing artifacts such as dark current and uneven illumination.  This is done by subtracting calibration images (dark frames, flat fields) from the raw CCD images.  Load all or some of the images from each night and perform the dark subtraction and flat field calibrations.  To do this use the help file for MaxIm DL or this simple online explanation: http://www.starizona.com/ccd/software/maxim_calibrate.htm

(a) Menu:   Process…Set Calibration

(b) Menu:   Process…Calibrate All

(c) See also:  http://www.starizona.com/ccd/

- You should now notice that all of your images look cleaner.  Use the figure above to locate FZ Orion.  Note that FZ Orion looks like one star but it is actually two stars.  The “Reference Star” is third star that we will use brightness comparison.  As the stars of FZ Orion orbit one another, they eclipse one another from our point of view.  You eye might not be able to notice that the brightness of this star changes from one CCD image to the next.  However, we will see that the brightness of FZ Orion is indeed changing.  Use the “Analyze…Photometry…” menu option to begin your analysis.  Tag FZ Orion as a “New Object” and tag the reference star indicated in the figure above as a “New Reference Star”.

- View the plot of magnitude versus time.  Note that 2 or 3 images that will not give good magnitude measurements due to bad telescope tracking.  Save the data to a text file.  Load the data into Microsoft Excel.  Make plots of Julian Date versus Apparent Magnitude.   Note that the values of the apparent magnitude should be reversed using and Excel axis option since lower values of apparent magnitude correspond to higher brightness.  Remove any data points that appear to lie far from the smooth light curve.  Record the Julian Date values (11 digits) that correspond to the times of minimum brightness.

12-21-2003: ______________________,   ______________________

12-22-2003: ______________________,   ______________________

- The time for the primary minimum has been determined by astronomers to be given approximately by the following equation:  JD = 2444024.4629 + 0.39998443 E    where E in an integer for a primary eclipse.   Solve for E and add a column to your Excel File for the values of E.

- The stars of FZ Orion orbited one another a couple of times during the daylight hours between the observations on December 21st and December 22nd.  This means that there will be a big gap in the data if plot.  We can “fold” the data so that we are able to reconstruct one complete cycle of the light curve.  To do that we first calculate a new parameter that is called the phase: Phase = E - Int(E)    where “Int” is and Excel function that takes the integer part of E.

- Add another column to your Excel file for phase.  Make a plot of apparent magnitude versus phase.  This is the only plot that you will turn in.  The requirements for this plot are:

- The plot should be printed (landscape) on a page by itself.

- The plot should fill the entire page.

- Both axes must be label.

- The graph should have a title that includes the team name and the star name.

Team Questions

1.  What is the orbital period of the stars of FZ Orion?		____________________________

2.  What is meant by photometry?

3.  Why does FZ Orion appear as one star on the CCD images?

Use this handout as the cover page.  Staple the graph to this page.  Each team should turn in only one copy of this report.

As a team discuss how each team member contributed to this project.  Suppose that the team is paid for the project.  For this project, what percentage of the income should go to each team member above?  Enter your team answers in the blanks below.

Gatekeeper: ______      Time Keeper: _____        Recorder: ______        Facilitator: _____